## SWT DATA
Input Mask: Small Wind Turbine SWT | [8 empty] | Small Wind Turbine Yield Estimator V2.2010
|  |  |  | S W T P o w e r C u r v e | Vi in m/s | Pi in W
SWT Model* |  |  |  |  | 1 |  |  |  | www.iwes.fraunhofer.de
Rotor Diameter D in Meter* |  |  |  |  | 2 |  |  |  | www.windmonitor.de
Rated Power in Watt |  |  |  |  | 3
Data Source |  |  |  |  | 4 |  |  |  | This spreadsheet allows you to add a new SWT model or change an existing entry. The estimator requires the complete power curve to perform yield estimations. Unknown data points may be interpolated. You can use the input mask to add a new model or directly insert or change data in row 27 and below.
5
6
7
8
9
10
[5 empty] | 11 |  |  |  | Conversion
[5 empty] | 12 |  |  |  | feet in meter:
[5 empty] | 13 |  |  |  | Rotor diameter in feet: |  |  |  |  | ft
[5 empty] | 14 |  |  |  | Rotor Diameter in metre: |  |  |  |  | m
[5 empty] | 15 |  |  |  | rectangular rotor area in circular diameter:
[5 empty] | 16 |  |  |  | Rectangular rotor area (VAWT etc.)
[5 empty] | 17 |  |  |  | Rotor width in meter: |  |  |  |  | m
[5 empty] | 18 |  |  |  | Rotor height in meter: |  |  |  |  | m
[5 empty] | 19 |  |  |  | Rotor area: |  |  |  |  | m2
* required field |  |  |  |  | 20 |  |  |  | Equivalent circular rotor diameter D |  |  |  |  | m
Model | Rotor | Rated | Data | Power Curve with Vi in m/s
| Diameter | Power | Source | and Pi in W
| in m | in W |  | 1 | 2 | 3 | 4 | 6 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Synthetic Power Curve 10-m-Rotor | 10 |  |  | 0 | 0 | 140 | 520 | 1440 | 2560 | 4000 | 5680 | 7560 | 9080 | 10800 | 13200 | 15400 | 16800 | 16000 | 0 | 0 | 0 | 0 | 0
Synthetic Power Curve 1-m-Rotor | 1 |  |  | 0 | 0 | 1 | 5 | 14 | 26 | 40 | 57 | 76 | 95 | 110 | 132 | 154 | 168 | 160 | 0 | 0 | 0 | 0 | 0
Synthetic Power Curve 3-m-Rotor | 3 |  |  | 0 | 0 | 10 | 50 | 130 | 230 | 360 | 510 | 680 | 820 | 970 | 1190 | 1390 | 1510 | 1440 | 0 | 0 | 0 | 0 | 0
Synthetic Power Curve 5-m-Rotor | 5 |  |  | 0 | 0 | 35 | 130 | 360 | 640 | 1000 | 1420 | 1890 | 2270 | 2700 | 3300 | 3850 | 4200 | 4000 | 0 | 0 | 0 | 0 | 0
Synthetic Power Curve 7-m-Rotor | 7 |  |  | 0 | 0 | 70 | 250 | 700 | 1250 | 1960 | 2780 | 3700 | 4450 | 5300 | 6570 | 7550 | 8230 | 7840 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[24 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note on F2: binned wind speed in meters per second
Note on G2: SWT power output in Watt
Note on M18: VAWT - vertical axis wind turbine

## Estimator
Small Wind Turbine Yield Estimator V2.2010 | [21 empty] | zo | alpha
[22 empty] | 0.0091188 | 0.14286
Input Site Data |  |  |  |  | Project Data | [16 empty] | 0.0079049 | 0.14
Measurement Height |  | 10 | m |  | Location | [16 empty] | 0.0096398 | 0.144
Average Wind Speed Vave |  | 4.4 | m/s |  | Notes | [16 empty] | 0.0091828 | 0.143
Roughness Length z0 |  | 0.1 | m | 4.4
|  |  | estimated: |  |  |  |  | 2026-07-28 17:22
Scale Parameter c |  |  | 5.0 m/s
Shape Factor k |  | 2 |  | 4.9677 | Terrain
|  | Rayleigh Distribution |  | 2 | Agricultural land with some houses and 8 m tall sheltering hedgerows with a distance of approx. 500 m* | [11 empty] | alpha | Roughness Class | Roughness Length m | Landscape Type
Air Density ρ |  | 1.225 | kg/m3 | [13 empty] | 0.092423 | 0 | 0.0002 | Water surface*
[17 empty] | 0.11998 | 0.5 | 0.0024 | Completely open terrain with a smooth surface, e.g.concrete runways in airports, mowed grass, etc.*
[5 empty] | Nabenhöhe: 18 m | [11 empty] | 0.14281 | 1 | 0.0091 | wind shear exponent: α = 0,143 (appr. 1/7 power law)
Small Wind Turbine Data |  |  |  |  | Output Table | [10 empty] | Actual turbine performance may vary! | 0.17214 | between 1 and 1,5 | 0.03 | Open agricultural area without fences and hedgerows and very scattered buildings. Only softly rounded hills*
3,0 m • Synthetic Power Curve 3-m-Rotor |  |  |  |  | Hub height | Average wind speed | Annual energy output Eout |  | Conversion rate | Annual specific energy |  | Wind power density | SWT average power | Increase in Eout with height | Wind speed bin with highest annual output |  | 0.1922 | 1.5 | 0.055 | Agricultural land with some houses and 8 m tall sheltering hedgerows with a distance of approx. 1250 m*
[5 empty] | h | Vave | Power Curve | 20% | Power Curve | Wind | Output SWT |  |  |  | Vmax Eout | Max Eout,i | 0.20975 | between 1,5 and 2 | 0.085 | other
Conversion Rate |  | 20 | % |  | m | m/s | kWh/a | kWh/a |  | (kWh/m2)/a | (kWh/m2)/a | W/m2 | W/m2 |  | m/s | kWh/a | 0.21715 | 2 | 0.1 | Agricultural land with some houses and 8 m tall sheltering hedgerows with a distance of approx. 500 m*
Uncertainty Factor |  | 10 | % |  |  |  |  | 20% | [8 empty] | 0.23811 | between 2 and 2,5 | 0.15 | other | [61 empty] | Height above ground: 10 m Average wind speed: 4.4 m/s | Hub height: 18 m Average wind speed: 5 m/s | Height above ground: 40 m Average wind speed: 5.7 m/s
Hub Height |  | 18 | m |  | 18 | 4.9616 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 100% | #N/A | #N/A | 0.25562 | 2.5 | 0.2 | Agricultural land with many houses, shrubs and plants, or 8 m tall sheltering hedgerows with a distance of approx. 250 m* | [61 empty] | Average wind speed: 4.4 m/s | Average wind speed: 5 m/s | Average wind speed: 5.7 m/s
[17 empty] | 0.28518 | between 2,5 and 3 | 0.3 | other | [61 empty] | 4.4 | 5 | 5.7
Rotor Diameter |  | #N/A | m |  | 10 | 4.4 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0.31067 | 3 | 0.4 | Villages, small towns, agricultural land with many or tall sheltering hedgerows, forests & very rough & uneven terrain* | [61 empty] | Height above ground: 10 m | Hub height: 18 m | Height above ground: 40 m
Rotor Swept Area |  | #N/A | m2 |  | 15 | 4.7874 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0.35544 | 3.5 | 0.6 | Larger cities with tall buildings* | [60 empty] | Jahr | 8760 | 8760 | 8760
SWT Data Source |  | #N/A |  |  | 20 | 5.0623 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0.54568 | 4 | 1.6 | Very large cities with tall buildings and skycrapers * | [60 empty] | 0 bis 3 | 3391.1279 | 2796.031 | 2194.9758
[5 empty] | 25 | 5.2755 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  | Definitionen frei übersetzt nach dem Europäischen Windatlas, WAsP | [60 empty] | 4 bis 9 | 5146.0834 | 5473.9101 | 5558.305
Vi | PWind,i | Pi | CP,i | P reasl | 30 | 5.4497 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [64 empty] | 10 bis 14 | 221.122 | 479.5842 | 950.7854
[5 empty] | 35 | 5.5969 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | #N/A | #N/A | #N/A | #N/A | [58 empty] | > 15 | 1.6666 | 10.4747 | 55.9338 | [10 empty] | Power Duration Curve
m/s | W | W |  |  | 40 | 5.7245 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | X | Select SWT | SWT Type | SWT Diameter |  | Data Source |  | Height (m) | [6 empty] | Hub Height |  | Height (m) | [6 empty] | Hub Height |  | Height (m) | [6 empty] | Hub Height |  | Height (m) | [6 empty] | Hub Height |  | Height (m) | [6 empty] | Hub Height |  | Height (m) | [6 empty] | Hub Height |  | Height (m) | [6 empty] | Hub Height |  | Height (m) | [6 empty] | Hub Height | Hours per Year P > 0 W | Height (m) | [6 empty] | Hub Height | Power |  | Height (m) | [6 empty] | Hub Height
1 | #N/A | #N/A | #N/A | #N/A | [12 empty] | 0 | 10 m • Synthetic Power Curve 10-m-Rotor | Synthetic Power Curve 10-m-Rotor | 10 | 10 |  | Binned Wind Speed | 10 | 15 | 20 | 25 | 30 | 35 | 40 | 18 | Binned Wind Speed | 10 | 15 | 20 | 25 | 30 | 35 | 40 | 18 | Binned Wind Speed | 10 | 15 | 20 | 25 | 30 | 35 | 40 | 18 | Binned Wind Speed | 10 | 15 | 20 | 25 | 30 | 35 | 40 | 18 | Binned Wind Speed | 10 | 15 | 20 | 25 | 30 | 35 | 40 | 18 | Binned Wind Speed | 10 | 15 | 20 | 25 | 30 | 35 | 40 | 18 | Binned Wind Speed | 10 | 15 | 20 | 25 | 30 | 35 | 40 | 18 | Binned Wind Speed | 10 | 15 | 20 | 25 | 30 | 35 | 40 | 18 | Binned Wind Speed | 10 | 15 | 20 | 25 | 30 | 35 | 40 | 18 | Curve | Binned Wind Speed | 10 | 15 | 20 | 25 | 30 | 35 | 40 | 18
2 | #N/A | #N/A | #N/A | #N/A | [12 empty] | 0 | 01 m • Synthetic Power Curve 1-m-Rotor | Synthetic Power Curve 1-m-Rotor | 01 | 1 |  | (m/s) | Height (m) 10: Weibull Distribution | (m/s) | Specific Power in the Wind (W/m2) | [7 empty] | (m/s) | Specific Power in the Wind (W/m2) depending on cut in cut off wind speed power curve | [7 empty] | (m/s) | Average Power SWT (W) | [7 empty] | (m/s) | Annual Energy Output (kWh) | [7 empty] | (m/s) | Hours per year | [7 empty] | (m/s) | [8 empty] | (m/s) | Hours per Year P > 0 W | [7 empty] | (m/s) | 8760 | 8760 | 8760 | 8760 | 8760 | 8760 | 8760 | 8760 | 0 | v < vin | [7 empty] | 100%
3 | #N/A | #N/A | #N/A | #N/A | [12 empty] | 0 | 03 m • Synthetic Power Curve 3-m-Rotor | Synthetic Power Curve 3-m-Rotor | 03 | 3 |  | 1 | 0.077825 | 0.066154 | 0.05938 | 0.05481 | 0.051453 | 0.048848 | 0.046746 | 0.061736 | 1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | 674.7429 | 573.5576 | 514.8221 | 475.2017 | 446.0979 | 423.5094 | 405.2895 | 535.2525 | 1 | 686.4019 | 582.8483 | 522.8433 | 482.4107 | 452.7337 | 429.7149 | 411.158 | 543.7066 | 1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 1 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
4 | #N/A | #N/A | #N/A | #N/A | [12 empty] | 0 | 05 m • Synthetic Power Curve 5-m-Rotor | Synthetic Power Curve 5-m-Rotor | 05 | 5 |  | 2 | 0.13783 | 0.1194 | 0.10834 | 0.10073 | 0.095066 | 0.090624 | 0.087013 | 0.11221 | 2 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 2 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 2 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 2 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 2 | 1195.0148 | 1035.1677 | 939.2955 | 873.3367 | 824.2222 | 785.7144 | 754.4059 | 972.9016 | 2 | 1215.6636 | 1051.9358 | 953.9304 | 886.5856 | 836.4827 | 797.227 | 765.3296 | 988.2681 | 2 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 2 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 2 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
5 | #N/A | #N/A | #N/A | #N/A | [12 empty] | 0 | 07 m • Synthetic Power Curve 7-m-Rotor | Synthetic Power Curve 7-m-Rotor | 07 | 7 |  | 3 | 0.16883 | 0.15092 | 0.13944 | 0.13123 | 0.12496 | 0.11994 | 0.1158 | 0.14353 | 3 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 3 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 3 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 3 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 3 | 1463.7699 | 1308.5032 | 1208.9787 | 1137.7912 | 1083.3676 | 1039.861 | 1003.9513 | 1244.4015 | 3 | 1489.0625 | 1329.6989 | 1227.8154 | 1155.052 | 1099.4828 | 1055.0976 | 1018.4883 | 1264.0563 | 3 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 3 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 3 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
6 | #N/A | #N/A | #N/A | #N/A | [12 empty] | 0 | [5 empty] | 4 | 0.16951 | 0.15836 | 0.15006 | 0.14364 | 0.13848 | 0.1342 | 0.13057 | 0.15311 | 4 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 4 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 4 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 4 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 4 | 1469.6811 | 1372.9524 | 1301.0459 | 1245.3939 | 1200.6347 | 1163.5395 | 1132.0723 | 1327.4549 | 4 | 1495.0758 | 1395.192 | 1321.3171 | 1264.287 | 1218.4943 | 1180.5882 | 1148.4645 | 1348.4214 | 4 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 4 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 4 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
7 | #N/A | #N/A | #N/A | #N/A | [12 empty] | 0 | [5 empty] | 5 | 0.14714 | 0.14546 | 0.14241 | 0.13932 | 0.13648 | 0.1339 | 0.13158 | 0.14367 | 5 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 5 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 5 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 5 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 5 | 1275.6983 | 1261.1785 | 1234.6615 | 1207.9196 | 1183.2413 | 1160.9298 | 1140.8105 | 1245.5765 | 5 | 1297.7412 | 1281.6075 | 1253.8983 | 1226.2442 | 1200.8422 | 1177.9403 | 1157.3292 | 1265.2499 | 5 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 5 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 5 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
8 | #N/A | #N/A | #N/A | #N/A | [12 empty] | 0 | [5 empty] | 6 | 0.11307 | 0.11979 | 0.12203 | 0.12261 | 0.12247 | 0.12199 | 0.12134 | 0.12142 | 6 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 6 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 6 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 6 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 6 | 980.2738 | 1038.5753 | 1057.9971 | 1063.0565 | 1061.8498 | 1057.6689 | 1052.036 | 1052.719 | 6 | 997.2121 | 1055.3985 | 1074.4814 | 1079.1835 | 1077.6449 | 1073.1664 | 1067.2692 | 1069.3462 | 6 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 6 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 6 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
9 | #N/A | #N/A | #N/A | #N/A | [12 empty] | 0 | [5 empty] | 7 | 0.077893 | 0.08956 | 0.095626 | 0.09916 | 0.10136 | 0.10278 | 0.10371 | 0.09361 | 7 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 7 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 7 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 7 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 7 | 675.3294 | 776.4868 | 829.0804 | 859.7181 | 878.7685 | 891.0598 | 899.1243 | 811.5965 | 7 | 686.9985 | 789.0647 | 841.9981 | 872.7604 | 891.8403 | 904.116 | 912.1434 | 824.4153 | 7 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 7 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 7 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
10 | #N/A | #N/A | #N/A | #N/A | [12 empty] | 0 | [5 empty] | 8 | 0.048474 | 0.061253 | 0.069047 | 0.07425 | 0.077941 | 0.080675 | 0.082764 | 0.066331 | 8 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 8 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 8 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 8 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 8 | 420.2739 | 531.0611 | 598.6377 | 643.7494 | 675.7517 | 699.4502 | 717.5638 | 575.0865 | 8 | 427.5358 | 539.6634 | 607.9649 | 653.5153 | 685.8036 | 709.6989 | 727.954 | 584.1698 | 8 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 8 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 8 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
11 | #N/A | #N/A | #N/A | #N/A | [12 empty] | 0 | [5 empty] | 9 | 0.027384 | 0.038509 | 0.046162 | 0.051729 | 0.055963 | 0.059292 | 0.06198 | 0.04341 | 9 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 9 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 9 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 9 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 9 | 237.4176 | 333.8755 | 400.2231 | 448.4912 | 485.1951 | 514.0615 | 537.3638 | 376.363 | 9 | 241.52 | 339.2838 | 406.4588 | 455.295 | 492.4125 | 521.5938 | 545.1447 | 382.3075 | 9 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 9 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 9 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
12 | #N/A | #N/A | #N/A | #N/A | [12 empty] | 0 | [5 empty] | 10 | 0.014089 | 0.02233 | 0.028671 | 0.033643 | 0.037643 | 0.040936 | 0.043699 | 0.026326 | 10 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 10 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 10 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 10 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 10 | 122.1524 | 193.5971 | 248.5737 | 291.6835 | 326.3674 | 354.9164 | 378.8679 | 228.2474 | 10 | 124.263 | 196.733 | 252.4467 | 296.1085 | 331.2222 | 360.1168 | 384.3538 | 231.8524 | 10 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 10 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 10 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
13 | #N/A | #N/A | #N/A | #N/A | [12 empty] | 0 | [5 empty] | 11 | 0.0066177 | 0.01197 | 0.016582 | 0.020474 | 0.023778 | 0.026613 | 0.029076 | 0.01483 | 11 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 11 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 11 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 11 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 11 | 57.3759 | 103.7809 | 143.7651 | 177.5092 | 206.1524 | 230.7385 | 252.0861 | 128.576 | 11 | 58.3673 | 105.4619 | 146.0051 | 180.2021 | 209.219 | 234.1194 | 255.7363 | 130.6068 | 11 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 11 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 11 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
14 | #N/A | #N/A | #N/A | #N/A | [12 empty] | 0 | [5 empty] | 12 | 0.0028427 | 0.0059427 | 0.0089462 | 0.011679 | 0.014129 | 0.016321 | 0.018289 | 0.0077734 | 12 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 12 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 12 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 12 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 12 | 24.6465 | 51.523 | 77.5636 | 101.2608 | 122.4961 | 141.5004 | 158.5668 | 67.3954 | 12 | 25.0724 | 52.3575 | 78.7721 | 102.797 | 124.3182 | 143.5737 | 160.8629 | 68.4599 | 12 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 12 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 12 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
15 | #N/A | #N/A | #N/A | #N/A | [12 empty] | 0 | [5 empty] | 13 | 0.0011183 | 0.0027359 | 0.0045084 | 0.0062536 | 0.007908 | 0.0094536 | 0.01089 | 0.0037964 | 13 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 13 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 13 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 13 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 13 | 9.6953 | 23.7207 | 39.0882 | 54.219 | 68.5623 | 81.9627 | 94.4182 | 32.915 | 13 | 9.8628 | 24.1049 | 39.6972 | 55.0415 | 69.5822 | 83.1637 | 95.7854 | 33.4349 | 13 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 13 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 13 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
16 | #N/A | #N/A | #N/A | #N/A | [12 empty] | 0 | [5 empty] | 14 | 0.00040325 | 0.0011693 | 0.0021245 | 0.0031462 | 0.0041736 | 0.0051776 | 0.0061448 | 0.0017293 | 14 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 14 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 14 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 14 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 14 | 3.4961 | 10.1378 | 18.419 | 27.2772 | 36.1849 | 44.8896 | 53.2756 | 14.9934 | 14 | 3.5565 | 10.302 | 18.706 | 27.691 | 36.7232 | 45.5473 | 54.047 | 15.2302 | 14 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 14 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 14 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
17 | #N/A | #N/A | #N/A | #N/A | [12 empty] | 0 | [5 empty] | 15 | 0.00013341 | 0.00046429 | 0.00093682 | 0.0014884 | 0.0020787 | 0.0026834 | 0.0032883 | 0.00073534 | 15 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 15 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 15 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 15 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 15 | 1.1566 | 4.0254 | 8.1222 | 12.9046 | 18.022 | 23.2649 | 28.5093 | 6.3754 | 15 | 1.1766 | 4.0906 | 8.2488 | 13.1003 | 18.2901 | 23.6058 | 28.9221 | 6.4761 | 15 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 15 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 15 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
18 | #N/A | #N/A | #N/A | #N/A | [12 empty] | 0 | [5 empty] | 16 | 4.0519e-05 | 0.00017139 | 0.00038685 | 0.00066259 | 0.00097765 | 0.0013169 | 0.0016699 | 0.00029206 | 16 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 16 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 16 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 16 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 16 | 0.3513 | 1.486 | 3.354 | 5.7447 | 8.4762 | 11.4175 | 14.4782 | 2.5322 | 16 | 0.35737 | 1.51 | 3.4062 | 5.8318 | 8.6023 | 11.5848 | 14.6879 | 2.5722 | 16 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 16 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 16 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
19 | #N/A | #N/A | #N/A | #N/A | [12 empty] | 0 | [5 empty] | 17 | 1.1304e-05 | 5.8852e-05 | 0.00014967 | 0.00027771 | 0.00043445 | 0.0006123 | 0.00080525 | 0.00010841 | 17 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 17 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 17 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 17 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 17 | 0.098008 | 0.51025 | 1.2976 | 2.4077 | 3.7667 | 5.3087 | 6.9816 | 0.93996 | 17 | 0.099702 | 0.51851 | 1.3179 | 2.4443 | 3.8227 | 5.3865 | 7.0827 | 0.9548 | 17 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 17 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 17 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
20 | #N/A | #N/A | #N/A | #N/A | [12 empty] | 0 | [5 empty] | 18 | 2.8982e-06 | 1.8806e-05 | 5.4279e-05 | 0.00010963 | 0.00018249 | 0.00026985 | 0.00036887 | 3.7628e-05 | 18 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 18 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 18 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 18 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 18 | 0.025127 | 0.16305 | 0.4706 | 0.95051 | 1.5822 | 2.3396 | 3.1981 | 0.32624 | 18 | 0.025561 | 0.16569 | 0.47794 | 0.96493 | 1.6057 | 2.3739 | 3.2444 | 0.33139 | 18 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 18 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 18 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[17 empty] | 0 | [5 empty] | 19 | 6.8307e-07 | 5.5944e-06 | 1.8459e-05 | 4.0781e-05 | 7.2487e-05 | 0.00011277 | 0.00016057 | 1.2216e-05 | 19 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 19 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 19 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 19 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 19 | 0.0059222 | 0.048504 | 0.16004 | 0.35358 | 0.62846 | 0.97771 | 1.3922 | 0.10591 | 19 | 0.0060246 | 0.049289 | 0.16253 | 0.35894 | 0.63781 | 0.99203 | 1.4123 | 0.10758 | 19 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 19 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 19 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[17 empty] | 0 | [5 empty] | 20 | 1.4805e-07 | 1.5498e-06 | 5.8881e-06 | 1.4299e-05 | 2.7235e-05 | 4.4699e-05 | 6.6447e-05 | 3.7105e-06 | 20 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 20 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 20 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 20 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 20 | 0.0012836 | 0.013437 | 0.05105 | 0.12397 | 0.23613 | 0.38754 | 0.5761 | 0.03217 | 20 | 0.0013058 | 0.013655 | 0.051845 | 0.12585 | 0.23964 | 0.39322 | 0.58444 | 0.032679 | 20 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 20 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 20 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[17 empty] | 0 | [6 empty] | Hub Height 18: 4.9644 | ∑ | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | ∑ | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | [19 empty] | 8611.2062 | 8620.364 | 8625.607 | 8629.0932 | 8631.6037 | 8633.4979 | 8634.9676 | 8623.7911 | Total: | 8760 | 8760 | 8760 | 8760 | 8760 | 8760 | 8760 | 8760
[17 empty] | 0 | [6 empty] | 4.9677 | 5.4051 | 5.7154 | 5.9561 | 6.1528 | 6.3191 | 6.4631 | 5.6018
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
[17 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Note on A25: Binned wind speed
Note on B25: Power available in the wind (with respect to the rotor swept area of the selected SWT)
Note on C5: Average wind speed corresponding to the measurement height (for reasonable results the average of at least one year of measurements should be used)
Note on C6: The roughness length is used to calculate average wind speeds at different heights above ground (i. e. at alternative tower heights). The rougher the terrain, i. e. the more and the higher the obstacles in the vicinity of the planned SWT site, the higher the values of the roughness length. Choose a value from the list, representing the terrain at your site. An example description for each value is given in the box: Terrain
Note on C8: Leave this cell blank, if you already entered a value for the average wind speed! In this case an estimated value for c is given right next to this box. The value for c is calculated based on the average wind speed and the shape factor k. Alternatively, if you know the scale parameter c for your site, you can enter it here. In case you give values for the average wind speed AND the scale parameter c, the scale parameter c is used for the yield estimation. The scale factor c represents the wind speed of the calculated wind speed distribution based on the Weibull probability function.
Note on C9: Der Formfaktor k bestimmt die Form der berechneten Häufigkeitsverteilung der Windgeschwindigkeit. Standardwert: k = 2 (Rayleigh-Verteilung)
Note on C11: The mass of one cubic metre of air. The air density depends on the altitude (atmospheric pressure) of your site and on the weather conditions: atmospheric pressure, air humidity and temperature. There is no need to change the default value of 1,225 kg/m3 for most sites and conditions. Default value: standard atmosphere (temperature: 15 °C, atmospheric pressure: 1013,25 hPa)
Note on C17: Ratio of converted wind energy, i.e. conversion factor = 20 % --> 20 % of the available annual wind energy is harvested.
Note on C18: Estimated losses due to electrical losses, technical availability, turbulence etc, can be accounted here. The uncertainty factor reduces the estimated annual energy output by the entered percentage.
Note on C19: The hub height in meters. For horizontal axis SWTs, the hub height is equal to the height of the tower. For vertical axis SWTs, half of the rotor height is to be added to the tower height. The average wind speed increases with height above ground and so does the estimated annual output (compare with output table).
Note on C21: Rotor diameter of the chosen SWT with respect to a circular rotor swept area.
Note on C25: SWT power output
Note on D25: SWT power coeffcient
Note on F9: Definitions according to the European Wind Atlas, WAsP*
Note on F15: In addition to the yield of the entered hub height (left), estimations of the average wind speeds and annual yields are calculated for alternative hub heights.
Note on G15: Average wind speeds for different heights in meters per second .
Note on H16: Estimated annual yields in kilowatt-hours per year based on the power curve of the selected wind turbine.
Note on I16: Estimated annual yields in kilowatt-hours per year based on the entered overall conversion rate.
Note on J15: Overall conversion rate based on the power curve of the selected wind turbine.
Note on K15: Annual specific energy in kilowatt-hours per square meter. Wind: available in the wind Output SWT: converted by turbine
Note on M15: Average wind power density based on the wind speed distribution and average wind speeds in watt per square meter rotor swept area.
Note on N15: Average power in watt per square metre rotor swept area.
Note on O15: Ratio of estimated annual energy output for the entered hub height in relation to estimated outputs at alternatives heights.
Note on P15: Wind speed bin with the maximum annual energy output. Compare with diagram: Energy distribution of generated electricity.

## Power Curve & Duration
This bar chart shows the power curve of the selected wind turbine, i. e. the power output in watt for each binned wind speed.
Additionally the annual electricity production hours of each wind speed bin is given for different hub heights.The values for the entered hub height are shown in yellow. For comparison the values for hub heights of 10 m and 40 m are also shown.

## Wind Speed Distribution
This bar chart shows the wind speed distribution, i. e. the frequency of occurence for each binned wind speed. The bars for the entered hub height are shown in yellow. For comparison the values for alternative hub heights of 10 m and 40 m are also shown.